##### Plant tissue

Standard glutaraldehyde fixation

##### Fix preparation

- 10 ml 8% glutaraldehyde

- 10 ml buffer stock solution (ie 0.2 M sodium cacodylate buffer, pH 6.8-7.2)

- Make up to 40 mls with distilled water

Final concentration: 2.0% glutaraldehyde in 0.05 M sodium cacodylate. Plasmolysis sets in with too high an osmolarity.

Always keep glutaraldehyde in the fume hood. Wear gloves: sodium cacodylate contains arsenic, glutaraldehyde fixes skin.

##### Washing buffer preparation

- 1:3 Stock solution with distilled water

- 0.2 M sodium cacodylate buffer, pH 6.8-7.2

Final concentration: 0.05 M sodium cacodylate.

##### Fixation

- Cut samples into small blocks with the sample immersed in fixative. Fix for 8 hours (varies with thickness of tissue: cells may take only half an hour).

##### Buffer wash

- Rinse in 0.05 M sodium cacodylate buffer. Wash overnight in buffer. Rinse in buffer.

##### Post fixation

- 1:1 Osmium 2% stock with 0.1 M cacodylate buffer stock, 1 hour

Final concentration 1% osmium tetroxide, 0.05M cacodylate buffer.

##### Rinse

- Fill vial with distilled water. Turn upside down once.

##### Dehydration

- Empty rinse water and fill immediately with 30% alcohol. Turn vial upside down once. Put vial on rotater for 20 minutes.

- Empty 30% and replace immediately with 50%. Turn upside down once. This is to ensure no water remains in the lid to contaminate/rehydrate the sample.

- Repeat with 70%, 85%, 95%, 100%, 100%, 20 minutes in each alcohol.

##### Critical point dry run