##### Plant tissue

Standard glutaraldehyde fixation

##### Fixative preparation

- 10 ml 8% glutaraldehyde

- 10 ml buffer stock solution (ie 0.2 M sodium cacodylate buffer, pH 6.8-7.2)

- Make up to 40 mls with distilled water

- Final concentration: 2.0% glutaraldehyde in 0.05 M sodium cacodylate.

##### Washing buffer preparation

- 1:3 Stock solution with distilled water

- Final concentration: 0.05 M sodium cacodylate

Always keep glutaraldehyde in the fume hood. Wear gloves: sodium cacodylate contains arsenic, glutaraldehyde fixes skin.

##### Fixation

- Cut samples into small blocks with the sample immersed in fixative.

- Fix for 8 hours (varies with thickness of tissue: cells may take only half an hour).

##### Wash in buffer

- Rinse in 0.05 M sodium cacodylate buffer.

- Wash overnight in buffer.

- Rinse in buffer.

##### Post fixation

- 1:1 Osmium 2% stock with 0.1 M cacodylate buffer stock.

Final concentration 1% osmium tetroxide, 0.05M cacodylate buffer.

##### Rinse

- Fill vial with distilled water.

- Turn upside down once.

##### Dehydration

- Empty rinse water and fill immediately with 30% alcohol.

- Turn vial upside down once.

- Put vial on rotater for 20 minutes.

- Empty 30% and replace immediately with 50%.

- Turn upside down once. This is to ensure no water remains in the lid to contaminate/rehydrate the sample.

- Repeat with 70%, 85%, 95%, 100%, 100%. 5 minutes in each alcohol.

##### Embed

- 3:1 EtOH:Spurr resin for 0.5-1 hour

- 1:1 EtOH:Spurr resin for 0.5-1 hour

- 1:3 EtOH:Spurr resin for 0.5-1 hour

- 100% resin for 1 hour

##### Polymerise resin

- Fresh resin, in 60 C oven overnight (16 hrs)