##### Cell on substrate

Conventional glutaraldehyde fixation for TEM of animal cells in culture

##### Fix preparation

- 10 ml 25% glutaraldehyde

- 50 ml buffer stock solution (ie 0.2 M sodium cacodylate buffer, with 4 mM CaCl2, pH 7.3-7.4)

- Make up to 100 mls with distilled water

- Adjust pH with HCl to pH 7.3-7.4

- Final concentration: 2.5% glutaraldehyde in 0.1 M sodium cacodylate with 2 mM CaCl2.

- Always keep glutaraldehyde in the fume hood. Wear gloves: sodium cacodylate contains arsenic, glutaraldehyde fixes skin.

##### Wash buffer preparation

- 1:1 Stock buffer with distilled water

- Stock buffer: 0.2 M Stock sodium cacodylate buffer, with 4 mM CaCl2

  - 4.28g in 100 mls ddw = 0.2 M

  - 0.044g CaCl2 in 100 mls = 4 mM

  - adjust pH with HCl to pH 7.3-7.4

  - Final concentration: 0.1 M sodium cacodylate with 2 mM CaCl2, pH 7.3-7.4.

##### Fixation

- Warm fixative to temperature at which cells are growing.

- Pellet cells in Ependorf tube.

- Remove medium.

- Add fix.

- Resuspend.

- Fix for 1/2-1 hour.

##### Wash in buffer

- Wash in 0.1 M sodium cacodylate buffer for 3 x 5 minutes.

##### Post fixation:

- 1:1 Osmium 2% stock with 0.2 M cacodylate buffer stock.

- Final concentration 1% osmium tetroxide, 0.1 M cacodylate buffer.

- 20-30 minutes.

- Add just enough osmium to cover cell pellet.

##### Rinse

- Fill Eppendorf with distilled water.

- Turn upside down so any osmium in the lid is removed.

##### Enbloc stain

- 2% Uranyl acetate for 30 minutes.

##### Dehydration

- Empty rinse water and fill immediately with 30% alcohol.

- Turn vial upside down once. This is to ensure no water remains in the lid to contaminate/rehydrate the sample.

- Put vial on rotater for 5 minutes.

- Empty 30% and replace immediately with 50%. Turn upside down once.

- Repeat with 70%, 85%, 95%, 100%, 100%. 5 minutes in each alcohol.

##### Embed, for cultured cells

- 3:1 ethanol:Spurr resin for 30 minutes

- 1:1 ethanol:resin for 30 minutes

- 1:3 ethanol:resin for 30 minutes

- 100% resin 1 hour.

- If the pellet is particularly large, leave overnight in fresh resin.

##### Polymerise resin

- Fresh resin, in 60 C oven overnight (16 hrs).