## Slide 1: SEM Lens Aberration: Astigmatism
Amin Cheraghi Shirazi
Jan. 2013
CAMTEC Nanofabrication Workshop

## Slide 2: SEM

## Slide 3: Lens Aberrations
Spherical Aberration
Chromatic Aberration
Diffraction
Astigmatism

## Slide 4: Spherical Aberration

## Slide 5: Chromatic Aberration

## Slide 6: Diffraction
Electrons wavelengths being out of phase
Lens will focus electrons of different phase to a different point
Monochromatic and Coherent

## Slide 7: Astigmatism
Non-uniform magnetic field
  No perfect cylindrical symmetry

## Slide 8: Astigmatism Other Reasons
Micro-structural inhomogeneities
  Local variations in the magnetic field strength
Not precisely centered apertures
Apertures contamination

## Slide 9: Astigmatism Correction
Stigmators
both in the illumination and imaging system

## Slide 10
Thank You!!!