## Slide 1: ION PUMPS
By: Nima Moghimian

## Slide 2: Why pump?
Why vacuum?
What is a good vacuum?

## Slide 3: What is a good vacuum?
Ultra High Vacuum
(UHV)
Rough Vacuum
Low Vacuum
High Vacuum
(HV)
NO Vacuum
Pa
1Pa = 7.5 x 10-3 Torr

## Slide 4: Types of pumps
Ultra High Vacuum
(UHV)
Rough Vacuum
Low Vacuum
High Vacuum
(HV)
NO Vacuum
Pa
Rotary and Dry pumps
Ion pumps
Diffusion pumps
Turbomolecular pumps

## Slide 5: SEM pumps
105 Pa
10-1 Pa
10-4 Pa
10-8 Pa

## Slide 6
S
N
DC Power supply
+
_
Ion pump
Ti
Ti
anode

## Slide 7: Ion pump
S
N
e
e
e
DC Power supply
-
-
-
-
-
-
-
-
-
-
-
-
+ + + + + + + + + + +
+ + + + + + + + + + +
e
e
e
+
_

## Slide 8
e
e
+ + + + + + + +
_ _ _ _ _ _
+
+
Collision
Ionization
Sputtering
Condensation

## Slide 9
S
N
DC
Power supply
+
_
Chemisorption
Electrical attraction

## Slide 10
e
e
+ + + + + + + + + + + + + +
+ + + + + + + + + + + + + +
_
_
_
_
_
_
_
_
_
_
_
_
_
_
_
_
S
N
+
+
DC
Power supply
+
_

## Slide 11: Ion pump features
No Oil
No moving parts
Only efficient at high vacuums

## Slide 12: Questions